## test_worksheet
ID | Procedure Step | User Need | Design Input | DO Solution L1 | DO Solution L2 | DO Solution L3 | Cascade Level | Requirement Statement | Requirement Rationale | Verification or Validation Strategy | Verification or Validation Results | Devices | Design Ouptut Feature (with CTQ ID #) | CTQ? Yes, No, N/A
ID value | Procedure Step value | User Need value | Design Input value | DO Solution L1 value | DO Solution L2 value | DO Solution L3 value | Cascade Level value | Requirement Statement value | Requirement Rationale value | Verification or Validation Strategy value | Verification or Validation Results value | Devices value | Design Ouptut Feature (with CTQ ID #) value | CTQ? Yes, No, N/A value
ID value | Procedure Step value | User Need value | Design Input value | DO Solution L1 value | DO Solution L2 value | DO Solution L3 value | Cascade Level value | Requirement Statement value |  | Verification or Validation Strategy value | Verification or Validation Results value | Devices value | Design Ouptut Feature (with CTQ ID #) value | CTQ? Yes, No, N/A value
ID value value | Procedure Step value value | User Need value value | Design Input value value | DO Solution L1 value value | DO Solution L2 value value | DO Solution L3 value value | Cascade Level value value | Requirement Statement value value | Requirement Rationale value value | Verification or Validation Strategy value value | Verification or Validation Results value value | Devices value value | Design Ouptut Feature (with CTQ ID #) value value | CTQ? Yes, No, N/A value value
Note on J4: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: fail: val_cell_not_empty

## Procedure Based Requirements
ID | Procedure Step | Need | Design Input | Solution Level 1 | Solution Level 2 | Solution Level 3 | Cascade Level | Requirement Statement | Requirement Rationale | Verification or Validation Strategy | Verification or Validation Results | Devices | Design Output Feature (with CTQ ID #) | CTQ? Yes, No, N/A
P020 | X | [5 empty] | PROCEDURE STEP | Prepare patient | - | - | - | - | - | -
P030 | X | [5 empty] | PROCEDURE STEP | Reduce fracture | - | - | - | - | - | -
P040 | X | [5 empty] | PROCEDURE STEP | Select implant sizes | - | - | - | - | - | -
P050 | X | [5 empty] | PROCEDURE STEP | Prepare canal and insert nail | - | - | - | - | - | -
P060 | X | [5 empty] | PROCEDURE STEP | Assemble insertion instruments to the nail. | - | - | - | - | - | -
P070 | X | [5 empty] | PROCEDURE STEP | Prep for head element insertion | - | - | - | - | - | -
P070-010 |  | X |  |  |  |  | USER NEEDssss | Surgeon visualizes implant location prior to placement with maximum accuracy. OR Surgeon wants to insert head element with guided insertion. | VOC Summary….. | Validation strategy goes here….. | W/C #0000XXXXXX | Coupling Screw Helical Blade Screw Guide Wire | - | No
P070-020 |  |  | X |  |  |  | DESIGN INPUT | Head element implants shall be compatible with existing 357.399 guide wire (to provide guided insertion). #MatingParts | Design Input rationale goes here….. | Design Input verification strategy goes here….. | W/C #0000XXXXXX | Helical Blade Screw Guide Wire | - | No
P070-030 |  |  |  | F |  |  | DESIGN SOLUTION | Helical blade cannulation has clearance of 0.02 to 0.05mm with guide wire OD at worst case conditions. | L1 Solution rationale goes here…… | Verification strategy goes here…… | W/C #0000XXXXXX | Helical Blade Guide Wire | Blade HE Shaft: Inner diameter (CTQ05) | Yes
P070-040 |  |  |  | F |  |  | DESIGN SOLUTION | Screw cannulation has clearance of 0.02 to 0.05mm with guide wire OD at worst case conditions. | L1 Solution rationale goes here…… | Verification strategy goes here…… | W/C #0000XXXXXX | Screw Guide Wire | Screw HE Shaft: Inner diameter (CTQ06) | Yes
P070-050 |  |  | X |  |  |  | DESIGN INPUT | Coupling screw shall be compatible with existing 357.399 guide wire (to provide guided insertion). #MatingParts | Design Input rationale goes here….. | Design Input verification strategy goes here….. | W/C #0000XXXXXX | Coupling Screw Guide Wire | N/A | No
P070-060 |  |  |  | F |  |  | DESIGN SOLUTION | Coupling screw cannulation has clearance of 0.02 to 0.05mm with guide wire OD at worst case conditions. | L1 Solution rationale goes here…… | Verification strategy goes here…… | W/C #0000XXXXXX | Coupling Screw Guide Wire | Coupling Screw: Cannulation diameter (CTQ07) | Yes
P080 | X | [5 empty] | PROCEDURE STEP | Measure for head element length | - | - | - | - | - | -
P090 | X | [5 empty] | PROCEDURE STEP | Drill for head element | - | - | - | - | - | -
P090-010 |  | X |  |  |  |  | USER NEED | Surgeon drills head element trajectory with maximum accuracy. OR Surgeon wants to drill pilot hole for implant insertion. | VOC Summary….. | Validation strategy goes here….. | W/C #0000XXXXXX | Guide Sleeve Drill Bit | N/A | No
P090-020 |  |  | X |  |  |  | DESIGN INPUT | New guide sleeve shall be compatible with existing TFNA drill bits (03.037.021, 03.037.022). #MatingParts | Design Input rationale goes here….. | Design Input verification strategy goes here….. | W/C #0000XXXXXX | Guide Sleeve Drill Bit | N/A | N/A
P090-030 |  |  |  | F |  |  | DESIGN SOLUTION | The ID of the guide sleeve has a clearance of 0.02 to 0.05mm with the OD of the lateral drill bits (03.037.021, 03.037.022) at worst case conditions. | L1 Solution rationale goes here…… | Verification strategy goes here…… | W/C #0000XXXXXX | Guide Sleeve Drill Bit | Guide sleeve: Cannulation diameter (CTQ08) | Yes
P100 | X | [5 empty] | PROCEDURE STEP | Tap for screw head element | - | - | - | - | - | -
P100-010 |  | X |  |  |  |  | USER NEED | Surgeon taps for screw head element with maximum accuracy. OR Surgeon wants to tap pilot hole to prepare for screw insertion. | VOC Summary….. | Validation strategy goes here….. | W/C #0000XXXXXX | Guide Sleeve Tap | N/A | N/A
P100-020 |  |  | X |  |  |  | DESIGN INPUT | New guide sleeve shall be compatible with the existing TFNA screw tap (03.037.027). #MatingParts | Design Input rationale goes here….. | Design Input verification strategy goes here….. | W/C #0000XXXXXX | Guide Sleeve Tap | N/A | N/A
P100-030 |  |  |  | F |  |  | DESIGN SOLUTION | The ID of the guide sleeve has a clearance of 0.02 to 0.05mm with the OD of the screw tap (03.037.027) at worst case conditions. | L1 Solution rationale goes here…… | Verification strategy goes here…… | W/C #0000XXXXXX | Guide Sleeve Tap | Guide sleeve: Cannulation diameter (CTQ08) | Yes
P110 | X | [5 empty] | PROCEDURE STEP | Back table assembly of head element and instrument | - | - | - | - | - | -
P110-010 |  | X |  |  |  |  | USER NEED | Scrub tech assembles implant to insertion instrument with maximum accuracy. -or- Scrub tech wants to assemble implant to instrument to prepare for implant insertion. | VOC Summary….. | Validation strategy goes here….. | W/C #0000XXXXXX | Blade Impactor Fine Adjust. Blade Impactor Screw Inserter Coupling Screw Helical Blade Screw
P110-020 |  |  | X |  |  |  | DESIGN INPUT | Blade impactor shall only attach to the new helical blade implant and not attach to any other HEs (including existing TFNA implants). #MatingParts | Design Input rationale goes here….. | Design Input verification strategy goes here….. | W/C #0000XXXXXX | Blade Impactor Fine Adjust. Blade Impactor Helical Blade TFNA Blade TFNA Screw
P110-030 |  |  |  | F |  |  | DESIGN SOLUTION | Keyed flat feature prevents helical blade components (Shaft and Sleeve) from being assembled in the incorrect orientation (Shaft and Sleeve Component 180º off) | L1 Solution rationale goes here…… | Verification strategy goes here…… | W/C #0000XXXXXX | Helical Blade
P110-040 |  |  |  | F |  |  | DESIGN SOLUTION | Blade impactor has a keyed feature (add type of feature) which matches the keyed feature that is unique to the telescoping helical blade. | L1 Solution rationale goes here…… | Verification strategy goes here…… | W/C #0000XXXXXX | Blade Impactor Fine Adjust. Blade Impactor Helical Blade TFNA Blade TFNA Screw
P110-050 |  |  |  | F |  |  | DESIGN SOLUTION | Blade Impactor has a keyed feature (add type of feature) that only attaches to helical blade in one orientation. | L1 Solution rationale goes here…… | Verification strategy goes here…… | W/C #0000XXXXXX | Blade Impactor Fine Adjust. Blade Impactor Helical Blade
P110-060 |  |  | X |  |  |  | DESIGN INPUT | Screw inserter shall only attach to the new screw implant and not attach to any other HEs (including existing TFNA implants). #MatingParts | Design Input rationale goes here….. | Design Input verification strategy goes here….. | W/C #0000XXXXXX | Screw Inserter Screw TFNA Helical Blade TFNA Screw
P110-070 |  |  |  | F |  |  | DESIGN SOLUTION | Keyed flat feature prevents screw components (Shaft and Sleeve) from being assembled in the incorrect orientation (Shaft and Sleeve Component 180º off) | L1 Solution rationale goes here…… | Verification strategy goes here…… | W/C #0000XXXXXX | Screw Inserter Screw
P110-080 |  |  |  | F |  |  | DESIGN SOLUTION | Screw inserter has a keyed feature (add type of feature) which matches the keyed feature that is unique to the telescoping screw head element. | L1 Solution rationale goes here…… | Verification strategy goes here…… | W/C #0000XXXXXX | Screw TFNA Helical Blade TFNA Screw
P110-090 |  |  |  | F |  |  | DESIGN SOLUTION | Screw Inserter has a keyed feature (add type of feature) that only attaches to Screw in one orientation. | L1 Solution rationale goes here…… | Verification strategy goes here…… | W/C #0000XXXXXX | Screw Inserter Screw
P110-100 |  |  | X |  |  |  | DESIGN INPUT | Coupling screw shall be tightened to implant with at least TBD Nm of torque. #MechProperties | Design Input rationale goes here….. | Design Input verification strategy goes here….. | W/C #0000XXXXXX | Coupling Screw Helical Blade Screw
P110-110 |  |  |  | F |  |  | DESIGN SOLUTION | Coupling screw has cross holes to mate with 321.170 Pin Wrench for assisted tightening or loosening to the TFNA telescoping head element. | L1 Solution rationale goes here…… | Verification strategy goes here…… | W/C #0000XXXXXX | Coupling Screw Pin Wrench
P110-120 |  |  |  | F |  |  | DESIGN SOLUTION | Coupling screw threaded tip has at least 2.5mm engagement with HEs when assembled to screw inserter or blade impactor. | L1 Solution rationale goes here…… | Verification strategy goes here…… | W/C #0000XXXXXX | Blade Impactor Fine Adjust. Blade Impactor Coupling Screw Screw Inserter Helical Blade Screw
P110-130 |  |  | X |  |  |  | DESIGN INPUT | Head element shall not collapse more than TBD mm during instrument assembly and insertion. #Function | Design Input rationale goes here….. | Design Input verification strategy goes here….. | W/C #0000XXXXXX | Blade Impactor Fine Adjust. Blade Impactor Screw Inserter Helical Blade Screw
P110-140 |  |  |  | F |  |  | DESIGN SOLUTION | Screw inserter feature (add feature) holds implant to length to prevent collapse | L1 Solution rationale goes here…… | Verification strategy goes here…… | W/C #0000XXXXXX | Screw Inserter Screw | Screw Inserter 03.037.125: Distal tip geometry (CTQ10) Screw HE Shaft: Lateral cut out feature Screw HE Sleeve: Rack profile Lateral profile length Lateral flat profile | Yes
P110-150 |  |  |  | F |  |  | DESIGN SOLUTION | Blade impactor feature (add feature) holds implant to length to prevent collapse | L1 Solution rationale goes here…… | Verification strategy goes here…… | W/C #0000XXXXXX | Blade Impactor Fine Adjust. Blade Impactor Helical Blade | Blade Impactor FA 03.037.123: Distal tip geometry Blade Impactor 03.037.124: Distal tip geometry Blade HE Shaft: Lateral cut out feature Blade HE Sleeve: Rack profile Blade HE Sleeve: Lateral profile length Blade HE Sleeve: Lateral flat profile | No
P110-160 |  |  |  | F |  |  | DESIGN SOLUTION | Packaging features (add features) prevent clip removal until the implant is assembled to the inserter/impactor. | L1 Solution rationale goes here…… | Verification strategy goes here…… | W/C #0000XXXXXX | Blade Impactor Fine Adjust. Blade Impactor Screw Inserter Helical Blade Screw | Pkg. clip: Retention feature | No
P110-170 |  |  | X |  |  |  | DESIGN INPUT | Clearance opening of at least TBDmm diameter between the implant and the inserter/impactor while the device is still inside the packaging (for accessability). #MatingParts | Design Input rationale goes here….. | Design Input verification strategy goes here….. | W/C #0000XXXXXX | Blade Impactor Fine Adjust. Blade Impactor Screw Inserter Helical Blade Screw
P110-180 |  |  | X |  |  |  | DESIGN INPUT | Coupling screw shall be compatible with blade impactors. #MatingParts | Design Input rationale goes here….. | Design Input verification strategy goes here….. | W/C #0000XXXXXX | Blade Impactor Fine Adjust. Blade Impactor Coupling Screw
P110-190 |  |  |  | F |  |  | DESIGN SOLUTION | Add compatibility features… | L1 Solution rationale goes here…… | Verification strategy goes here…… | W/C #0000XXXXXX | Blade Impactor Fine Adjust. Blade Impactor Coupling Screw
P110-200 |  |  | X |  |  |  | DESIGN INPUT | Coupling screw shall be compatible with screw inserter. #MatingParts | Design Input rationale goes here….. | Design Input verification strategy goes here….. | W/C #0000XXXXXX | Screw Inserter Coupling Screw
P110-210 |  |  |  | F |  |  | DESIGN SOLUTION | Add compatibility features… | L1 Solution rationale goes here…… | Verification strategy goes here…… | W/C #0000XXXXXX | Screw Inserter Coupling Screw
P110-220 |  | X |  |  |  |  | USER NEED | Scrub tech assembles mating components with minimum number of steps. | VOC Summary….. | Validation strategy goes here….. | W/C #0000XXXXXX | Blade Impactor Fine Adjust. Blade Impactor Screw Inserter
P110-230 |  |  | X |  |  |  | DESIGN INPUT | Assembly of the blade impactor shall not require additional steps compared to existing TFNA. #Function | Design Input rationale goes here….. | Design Input verification strategy goes here….. | W/C #0000XXXXXX | Blade Impactor Fine Adjust. Blade Impactor
P110-240 |  |  |  | F |  |  | DESIGN SOLUTION | Handle is symmetrical and attaches to shaft in either orientation. | L1 Solution rationale goes here…… | Verification strategy goes here…… | W/C #0000XXXXXX | Blade Impactor Fine Adjust. Blade Impactor | 03.037.123: Handle core groove feature | No
P110-250 |  |  |  | F |  |  | DESIGN SOLUTION | Retention feature in handle. | L1 Solution rationale goes here…… | Verification strategy goes here…… | W/C #0000XXXXXX | Screw Inserter | 03.037.124: Handle core groove feature | No
P110-260 |  |  | X |  |  |  | DESIGN INPUT | Screw insertion shall not require additional steps or devices. #Function | Design Input rationale goes here….. | Design Input verification strategy goes here….. | W/C #0000XXXXXX | Screw Inserter
P110-270 |  | X |  |  |  |  | USER NEED | VOC User Need: Surgeon inserts head element with maximum comfort and grip. OR Surgeon wants to use instruments without discomfort. | VOC Summary….. | Validation strategy goes here….. | W/C #0000XXXXXX
P110-280 |  |  | X |  |  |  | DESIGN INPUT | All instruments that have a handle (UserInterface points) shall have a soft or coated handle. #UserInterface | Design Input rationale goes here….. | Design Input verification strategy goes here….. | W/C #0000XXXXXX
P110-290 |  |  |  | F |  |  | DESIGN SOLUTION | Blade impactor handle per ES0449. | L1 Solution rationale goes here…… | Verification strategy goes here…… | W/C #0000XXXXXX
P110-300 |  |  |  | F |  |  | DESIGN SOLUTION | Screw inserter handle per ES0449. | L1 Solution rationale goes here…… | Verification strategy goes here…… | W/C #0000XXXXXX
P110-310 |  |  |  | F |  |  | DESIGN SOLUTION | Extraction instrument handle per ES0449. | L1 Solution rationale goes here…… | Verification strategy goes here…… | W/C #0000XXXXXX
P110-320 |  | X |  |  |  |  | USER NEED | Surgeon and Scrub Tech assemble and use devices with maximum safety. | Risk management…… | Validation strategy goes here….. | W/C #0000XXXXXX
P110-330 |  |  | X |  |  |  | DESIGN INPUT | Instruments shall not have sharp edges in the areas that are handled. #UserInterface | Design Input rationale goes here….. | Design Input verification strategy goes here….. | W/C #0000XXXXXX
P120 | X | [5 empty] | PROCEDURE STEP | Insert head element implant | - | - | - | - | - | -
P120-010 |  | X |  |  |  |  | USER NEED | Surgeon achieves adequate fixation for patient anatomy. | VOC Summary….. | Validation strategy goes here….. | W/C #0000XXXXXX
P120-020 |  |  | X |  |  |  | DESIGN INPUT | Implants shall be provided in sizes to treat TBD anatomy (TBD percentile, etc.). #Function #Child = P600-060 #Child = P600-070 | Design Input rationale goes here….. | Design Input verification strategy goes here….. | W/C #0000XXXXXX
P120-030 |  |  |  | F | x |  | DESIGN SOLUTION | #Child = P600-060 | - | - | - | - | - | -
P120-040 |  |  |  | F | y |  | DESIGN SOLUTION | #Child = P600-070 | - | - | - | - | - | -
P120-050 |  | X |  |  |  |  | USER NEED | Surgeon places implant in femoral head with maximum accuracy. | VOC Summary….. | Validation strategy goes here….. | W/C #0000XXXXXX
P120-060 |  |  | X |  |  |  | DESIGN INPUT | System shall allow accuracy of +/- TBD mm for helical blade placement. #Function (Given the amount of solution statements, there are probably more DIs in this area.) | Design Input rationale goes here….. | Design Input verification strategy goes here….. | W/C #0000XXXXXX
P120-070 |  |  |  | X |  |  | DESIGN SOLUTION | Keyed features (flats) between the two components of the helical blade (Shaft and Sleeve) to maintain orientation within +/- X degrees after assembled together | L1 Solution rationale goes here…… | Verification strategy goes here…… | W/C #0000XXXXXX
P120-080 |  |  |  |  | F |  | DESIGN SOLUTION | Impactor depth stop and rifling work in conjunction (ambiguous - identify how) to control number of revolutions blade undergoes during insertion. | L2 Solution rationale goes here…… | Verification strategy goes here…… | W/C #0000XXXXXX
P500 | X | [5 empty] | PROCEDURE STEP | Additional User Need requirements not defined by a specific procedure step | - | - | - | - | - | -
P500-010 |  | X |  |  |  |  | USER NEED | Surgeon wants to…… | VOC Summary….. | Validation strategy goes here….. | W/C #0000XXXXXX
P600 | X | [5 empty] | PROCEDURE STEP | Additional Business requirements | - | - | - | - | - | -
P600-010 |  | X |  |  |  |  | BUSINESS NEED | TFNA Telescoping Instruments shall replace the existing TFNA instruments with equivalent functions in the existing TFNA Graphic Case. | Source of need goes here….. | Not Required - this is not a User Need. | Not Required - this is not a User Need. | Blade Impactor Fine Adjust. Blade Impactor Screw Inserter Coupling Screw Extraction Instrument Flex Driver Guide Sleeve | N/A | N/A
P600-020 |  |  | X |  |  |  | DESIGN INPUT | New instruments shall have overall length within +/- TBD mm compared to comparable TFNA Core Instruments. #Function | Design Input rationale goes here….. | Design Input verification strategy goes here….. | W/C #0000XXXXXX | Blade Impactor Fine Adjust. Blade Impactor Screw Inserter Coupling Screw Extraction Instrument Flex Driver Guide Sleeve | N/A | N/A
P600-030 |  |  |  | F |  |  | DESIGN SOLUTION | Still need to add this. | L1 Solution rationale goes here…… | Verification strategy goes here…… | W/C #0000XXXXXX | Blade Impactor Fine Adjust. Blade Impactor Screw Inserter Coupling Screw Extraction Instrument Flex Driver Guide Sleeve | TBD TBD TBD.. | TBD
P600-040 |  | X |  |  |  |  | BUSINESS NEED | Provide same standard of technology for implant options as existing TFNA system. | Source of need goes here….. | Not Required - this is not a User Need. | Not Required - this is not a User Need. | Helical Blade Screw | - | -
P600-050 |  |  | X |  |  |  | DESIGN INPUT | Implants (helical blade and screw) in the new system shall be the same styles and sizes of head element options as existing TFNA system. #Function | Design Input rationale goes here….. | Design Input verification strategy goes here….. | W/C #0000XXXXXX | Helical Blade Screw | - | -
P600-060 |  |  |  | F |  |  | DESIGN SOLUTION | Helical blade HE has 5mm increments from 80-130mm (in non-collapsed condition). #AdditonalParent = P120-020 | L1 Solution rationale goes here…… | Verification strategy goes here…… | W/C #0000XXXXXX | Helical Blade | Blade HE Shaft Helix core diameter (CTQ01) Helix outer diameter (CTQ02) Flute pull-out radius Overall length | Yes
P600-070 |  |  |  | F |  |  | DESIGN SOLUTION | Screw HE has 5mm increments from 80-130mm (in non-collapsed condition). #AdditonalParent = P120-020 | L1 Solution rationale goes here…… | Verification strategy goes here…… | W/C #0000XXXXXX | Screw | Screw HE Shaft Core diameter (CTQ03) Thread outer diameter (CTQ04) Thread pitch Flank angles Crest length Overall length | Yes
P700 | X | [5 empty] | PROCEDURE STEP | Additional Regulatory requirements | - | - | - | - | - | -
P700-010 |  | X |  |  |  |  | REGULATORY NEED | Product shall meet additional regulatory requirements specific to Japan. | Japan Regulation TBD | Not Required - this is not a User Need. | Not Required - this is not a User Need. | Helical Blade Screw | - | -
P700-020 |  |  | X |  |  |  | DESIGN INPUT | Construct strength shall be…. #MechProperties | Design Input rationale goes here….. | Design Input verification strategy goes here….. | W/C #0000XXXXXX | Helical Blade Screw | - | -
P700-030 |  |  |  | F |  |  | DESIGN SOLUTION | TBD TBD TBD….. | L1 Solution rationale goes here…… | Verification strategy goes here…… | W/C #0000XXXXXX | Helical Blade Screw | TBD TBD TBD.. | TBD

## Procedure Based Requirements2
ID | Procedure Step | Need | Design Input | Solution Level 1 | Solution Level 2 | Solution Level 3 | Cascade Level | Requirement Statement | Requirement Rationale | Verification or Validation Strategy | Verification or Validation Results | Devices | Design Output Feature (with CTQ ID #) | CTQ? Yes, No, N/A
1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2
3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3

## test_validation
BodyIndex | PassOrFail | val_cells_not_empty | val_column_sort | val_column_exist
0 | Fail
1 | Fail
2 | Fail
3 | Fail
4 | Fail
5 | Pass | 2
6 | Pass | hello
7 | Pass | greet
8 | Pass | 8
9 | Pass | world

## nonsense_fields
banana | orange | apple | grape
1 | 1 | 1 | 1
2 | 2 | 2 | 2
3 | 3 | 3 | 3

## cascade
index | position | parent | not_empty | one_entry | f_entry | x_entry | orphan | cascade_level_not_empty | cascade_level_valid_input | cascade_level_matching | ID | non_root_ids_start_w_root_id | Procedure Step | Need | Design Input | Solution Level 1 | Solution Level 2 | Solution Level 3 | Solution Level 4 | Cascade Level | Requirement Statement | base_found | missing | custom | connected_edges | mutual_edges
0 | 0 | -1 | TRUE | TRUE | TRUE | TRUE |  | TRUE | TRUE | TRUE | P010 | TRUE | X | [6 empty] | PROCEDURE STEP |  | ParentOf | MatingParts |  | TRUE | TRUE
1 | 1 | 0 | TRUE | FALSE | TRUE | TRUE |  | TRUE | TRUE | TRUE | P010-001 | TRUE |  | X | XX |  | X |  |  | BUSINESS NEED | fdsafdsa #ParentOf P020 | Function |  | CustomTag | TRUE | TRUE
2 | 2 | 1 | TRUE | TRUE | TRUE | TRUE |  | TRUE | TRUE | TRUE | P010-002 | TRUE |  |  | X |  |  |  |  | DESIGN INPUT | #Function | MechProperties |  |  | TRUE | TRUE
3 | 3 | 2 | TRUE | TRUE | TRUE | TRUE |  | TRUE | FALSE | TRUE | P010-003 | TRUE |  |  |  | X |  |  |  | invalid input | #ChildOf P020-013 | UserInterface |  |  | TRUE | FALSE
4 | 4 | 3 | TRUE | TRUE | TRUE | TRUE |  | TRUE | TRUE | TRUE | P010-004 | TRUE |  |  |  |  | X |  |  | DESIGN SOLUTION | #MechProperties | ChildOf |  |  | TRUE | TRUE
5 | 5 | 4 | TRUE | TRUE | FALSE | TRUE |  | TRUE | TRUE | TRUE | P010-005 | TRUE | [5 empty] | X |  | DESIGN SOLUTION | #UserInterface |  |  |  | TRUE | TRUE
6 | 5 | 4 | TRUE | TRUE | TRUE | FALSE |  | TRUE | TRUE | FALSE | P010-006 | TRUE | [5 empty] | F |  | PROCEDURE STEP |  |  |  |  | TRUE | TRUE
7 | 4 | 3 | TRUE | TRUE | TRUE | TRUE |  | FALSE | TRUE | TRUE | P010-007 | TRUE |  |  |  |  | X | [7 empty] | TRUE | TRUE
8 |  | -1 | FALSE | FALSE | TRUE | TRUE |  | TRUE | TRUE | TRUE | P010-008 | TRUE | [7 empty] | DESIGN SOLUTION |  |  |  |  | TRUE | TRUE
9 | 3 | 2 | TRUE | TRUE | TRUE | TRUE |  | FALSE | TRUE | TRUE | P010-009 | TRUE |  |  |  | X |  |  |  |  | # child |  |  |  | TRUE | TRUE
10 | 2 | 1 | TRUE | TRUE | TRUE | TRUE |  | TRUE | TRUE | FALSE | P010-010 | TRUE |  |  | X |  |  |  |  | PROCEDURE STEP |  |  |  |  | TRUE | TRUE
11 | 0 | -1 | TRUE | TRUE | TRUE | TRUE |  | FALSE | TRUE | TRUE | P020 | TRUE | X | [7 empty] | #ChildOf P010-001 |  |  |  | TRUE | TRUE
12 | 3 | -1 | TRUE | TRUE | TRUE | TRUE |  | TRUE | TRUE | FALSE | P020-002 | TRUE |  |  |  | X |  |  |  | PROCEDURE STEP |  |  |  |  | TRUE | TRUE
13 | 2 | -1 | TRUE | TRUE | TRUE | TRUE |  | FALSE | TRUE | TRUE | P020-003 | TRUE |  |  | X | [5 empty] | #CustomTag |  |  |  | TRUE | TRUE
14 | 4 | -1 | TRUE | TRUE | TRUE | TRUE |  | TRUE | TRUE | FALSE | P020-004 | TRUE |  |  |  |  | X |  |  | PROCEDURE STEP |  |  |  |  | TRUE | TRUE
15 | 1 | 11 | TRUE | TRUE | TRUE | TRUE |  | TRUE | TRUE | TRUE | P020-005 | TRUE |  | X | [5 empty] | USER NEED |  |  |  |  | TRUE | TRUE
16 |  | -1 | FALSE | FALSE | TRUE | TRUE |  | TRUE | FALSE | TRUE | P020-006 | TRUE | [7 empty] | invalid input |  |  |  |  | TRUE | TRUE
17 | 2 | 15 | TRUE | TRUE | TRUE | TRUE |  | TRUE | TRUE | FALSE | P020-007 | TRUE |  |  | X |  |  |  |  | DESIGN SOLUTION | #ChildOf P999-999 |  |  |  | FALSE | TRUE
18 | 2 | 15 | TRUE | FALSE | TRUE | TRUE |  | FALSE | TRUE | TRUE | P020-008 | TRUE |  |  | X | X |  |  |  |  | #ParentOf P333-333 |  |  |  | FALSE | TRUE
19 | 3 | 18 | TRUE | TRUE | FALSE | TRUE |  | FALSE | TRUE | TRUE | P020-009 | TRUE |  |  |  | X | [8 empty] | TRUE | TRUE
20 | 1 | 11 | TRUE | TRUE | TRUE | TRUE |  | TRUE | TRUE | TRUE | P020-010 | TRUE |  | X | [5 empty] | RISK NEED |  |  |  |  | TRUE | TRUE
21 | 2 | 20 | TRUE | TRUE | TRUE | FALSE |  | FALSE | TRUE | TRUE | P020-011 | TRUE |  |  | C | [9 empty] | TRUE | TRUE
22 | 3 | 21 | TRUE | TRUE | TRUE | TRUE |  | FALSE | TRUE | TRUE | P020-012 | TRUE |  |  |  | X | [8 empty] | TRUE | TRUE
23 | 4 | 22 | TRUE | TRUE | TRUE | TRUE |  | FALSE | TRUE | TRUE | P020-013 | TRUE |  |  |  |  | X |  |  |  | #ParentOf P010-009 |  |  |  | TRUE | FALSE
24 | 5 | 23 | TRUE | TRUE | FALSE | TRUE |  | FALSE | TRUE | TRUE | P020-014 | TRUE | [5 empty] | X | [6 empty] | TRUE | TRUE

## tags
Index | ReqStatement
0 | This is a requirement #SecondLineWithModifier abc def #ThirdLineNoModifier
1 | No tag Here neither Also no
2 | #FirstLineAfterWhiteSpace